## Scenario list
merge bos data with wake data
assume turbien cost scenarios
assume losses pruf
calculate LCOE with turbine cost scenarios baseline and wake steering
change in bos cost and lcoe by changing relative spacing baseline losses
change in bos cost and lcoe by changing relative spacing wake steering
change in power density for equivelent LCOE
inflection point for min lcoe (previous work? Might not find? Maybe 20d?)
relationship of SP and spacing and wind resource for SOCO

## BOS Scenarios
rating | rd | # turb | spacing | bos cost | turbine cost (constant / mw) | turbine cost (scaling study???) | assuemd losses excluting wakes | Gross aep | Baseline PRUF losses | Baseline wake loses | with wake steering | change in LCOE
22.9%
22.9%
22.9%
22.9%
22.9%
22.9%
22.9%
22.9%
22.9%
22.9%
22.9%
22.9%
22.9%
22.9%
22.9%
22.9%
22.9%

## Losses
Losses (PRUF and CSM)
conversion (drivetrain, generator, power conversion) | 9
curtailment | 0
electrical | 2.7
env | 3
turbine | 3.3
availability | 4.9
wake | 6.9
total | 29.8%
total minus wake | 22.9%

## 150w
Farm Name | Rated_Power | Specific_Power | #Turbine | Turbine_D | Turb_spc_rel | Avg_ws | AEP_No_Wake | AEP_Baseline | AEP_Opt | %_Baseline | %_Opt | Wk_Loss_Baseline | Wk_Loss_Opt | AEP_Gain_Opt | Loss_Red_Opt
Rel_spc=10_D=160_avg_ws=6.0_SP=150 | 3015.9289 | 150 | 49 | 160 | 10 | 6 | 588.8415 | 565.4525 | 568.494 | 96.028 | 96.5445 | 3.972 | 3.4555 | 0.53789 | 13.004
Rel_spc=10_D=160_avg_ws=6.0_SP=200 | 4021.2386 | 200 | 49 | 160 | 10 | 6 | 661.5044 | 630.268 | 634.1977 | 95.278 | 95.872 | 4.722 | 4.128 | 0.62349 | 12.5804
Rel_spc=10_D=160_avg_ws=6.0_SP=250 | 5026.5482 | 250 | 49 | 160 | 10 | 6 | 708.9718 | 670.9527 | 675.667 | 94.6374 | 95.3024 | 5.3626 | 4.6976 | 0.70262 | 12.3997
Rel_spc=10_D=160_avg_ws=6.0_SP=300 | 6031.8579 | 300 | 49 | 160 | 10 | 6 | 739.4814 | 696.4869 | 701.6927 | 94.1859 | 94.8898 | 5.8141 | 5.1102 | 0.74744 | 12.108
Rel_spc=10_D=160_avg_ws=7.5_SP=150 | 3015.9289 | 150 | 49 | 160 | 10 | 7.5 | 787.5556 | 767.9957 | 770.6847 | 97.5164 | 97.8578 | 2.4836 | 2.1422 | 0.35012 | 13.7471
Rel_spc=10_D=160_avg_ws=7.5_SP=200 | 4021.2386 | 200 | 49 | 160 | 10 | 7.5 | 943.1977 | 914.6455 | 918.4753 | 96.9728 | 97.3789 | 3.0272 | 2.6211 | 0.41871 | 13.4132
Rel_spc=4_D=160_avg_ws=6.0_SP=250 | 5026.5482 | 250 | 49 | 160 | 4 | 6 | 708.9718 | 556.5632 | 601.0224 | 78.5029 | 84.7738 | 21.4971 | 15.2262 | 7.9882 | 29.171
Rel_spc=10_D=160_avg_ws=7.5_SP=300 | 6031.8579 | 300 | 49 | 160 | 10 | 7.5 | 1167.5373 | 1121.1776 | 1127.862 | 96.0293 | 96.6018 | 3.9707 | 3.3982 | 0.5962 | 14.4187
Rel_spc=10_D=160_avg_ws=9.0_SP=150 | 3015.9289 | 150 | 49 | 160 | 10 | 9 | 911.5452 | 896.4908 | 898.3183 | 98.3485 | 98.549 | 1.6515 | 1.451 | 0.20385 | 12.1391
Rel_spc=10_D=160_avg_ws=9.0_SP=200 | 4021.2386 | 200 | 49 | 160 | 10 | 9 | 1137.7166 | 1112.1452 | 1115.4103 | 97.7524 | 98.0394 | 2.2476 | 1.9606 | 0.29359 | 12.7687
Rel_spc=7_D=160_avg_ws=6.0_SP=250 | 5026.5482 | 250 | 49 | 160 | 7 | 6 | 708.9718 | 641.4885 | 655.3693 | 90.4815 | 92.4394 | 9.5185 | 7.5606 | 2.1638 | 20.5692
Rel_spc=10_D=160_avg_ws=9.0_SP=300 | 6031.8579 | 300 | 49 | 160 | 10 | 9 | 1498.4913 | 1455.1708 | 1460.7768 | 97.1091 | 97.4832 | 2.8909 | 2.5168 | 0.38525 | 12.9407
Rel_spc=4_D=160_avg_ws=6.0_SP=150 | 3015.9289 | 150 | 49 | 160 | 4 | 6 | 588.8415 | 487.8448 | 519.9276 | 82.8482 | 88.2967 | 17.1518 | 11.7033 | 6.5764 | 31.7662
Rel_spc=4_D=160_avg_ws=6.0_SP=200 | 4021.2386 | 200 | 49 | 160 | 4 | 6 | 661.5044 | 531.4946 | 571.2715 | 80.3463 | 86.3594 | 19.6537 | 13.6406 | 7.484 | 30.5953
Rel_spc=10_D=160_avg_ws=7.5_SP=250 | 5026.5482 | 250 | 49 | 160 | 10 | 7.5 | 1068.1891 | 1029.6662 | 1034.8769 | 96.3936 | 96.8814 | 3.6064 | 3.1186 | 0.50605 | 13.5262
Rel_spc=4_D=160_avg_ws=6.0_SP=300 | 6031.8579 | 300 | 49 | 160 | 4 | 6 | 739.4814 | 571.3799 | 619.6456 | 77.2676 | 83.7946 | 22.7324 | 16.2054 | 8.4472 | 28.7123
Rel_spc=4_D=160_avg_ws=7.5_SP=150 | 3015.9289 | 150 | 49 | 160 | 4 | 7.5 | 787.5556 | 697.6984 | 728.3838 | 88.5904 | 92.4867 | 11.4096 | 7.5133 | 4.3981 | 34.149
Rel_spc=4_D=160_avg_ws=7.5_SP=200 | 4021.2386 | 200 | 49 | 160 | 4 | 7.5 | 943.1977 | 814.6212 | 858.6436 | 86.368 | 91.0354 | 13.632 | 8.9646 | 5.404 | 34.2383
Rel_spc=4_D=160_avg_ws=7.5_SP=250 | 5026.5482 | 250 | 49 | 160 | 4 | 7.5 | 1068.1891 | 900.0462 | 954.4743 | 84.2591 | 89.3544 | 15.7409 | 10.6456 | 6.0473 | 32.3701
Rel_spc=4_D=160_avg_ws=7.5_SP=300 | 6031.8579 | 300 | 49 | 160 | 4 | 7.5 | 1167.5373 | 963.4701 | 1028.244 | 82.5216 | 88.0695 | 17.4784 | 11.9305 | 6.723 | 31.7415
Rel_spc=4_D=160_avg_ws=9.0_SP=150 | 3015.9289 | 150 | 49 | 160 | 4 | 9 | 911.5452 | 841.7889 | 866.8282 | 92.3475 | 95.0944 | 7.6525 | 4.9056 | 2.9745 | 35.8954
Rel_spc=4_D=160_avg_ws=9.0_SP=200 | 4021.2386 | 200 | 49 | 160 | 4 | 9 | 1137.7166 | 1026.9373 | 1063.029 | 90.263 | 93.4353 | 9.737 | 6.5647 | 3.5145 | 32.5799
Rel_spc=7_D=160_avg_ws=7.5_SP=250 | 5026.5482 | 250 | 49 | 160 | 7 | 7.5 | 1068.1891 | 997.9367 | 1013.2985 | 93.4232 | 94.8613 | 6.5768 | 5.1387 | 1.5394 | 21.8666
Rel_spc=4_D=160_avg_ws=9.0_SP=300 | 6031.8579 | 300 | 49 | 160 | 4 | 9 | 1498.4913 | 1310.0606 | 1371.8553 | 87.4253 | 91.5491 | 12.5747 | 8.4509 | 4.7169 | 32.7944
Rel_spc=7_D=160_avg_ws=6.0_SP=150 | 3015.9289 | 150 | 49 | 160 | 7 | 6 | 588.8415 | 546.2143 | 555.2624 | 92.7608 | 94.2974 | 7.2392 | 5.7026 | 1.6565 | 21.2262
Rel_spc=7_D=160_avg_ws=6.0_SP=200 | 4021.2386 | 200 | 49 | 160 | 7 | 6 | 661.5044 | 605.353 | 617.3544 | 91.5116 | 93.3258 | 8.4884 | 6.6742 | 1.9825 | 21.3732
Rel_spc=10_D=160_avg_ws=9.0_SP=250 | 5026.5482 | 250 | 49 | 160 | 10 | 9 | 1325.8988 | 1295.3563 | 1299.9568 | 97.6965 | 98.0434 | 2.3035 | 1.9566 | 0.35516 | 15.0627
Rel_spc=7_D=160_avg_ws=6.0_SP=300 | 6031.8579 | 300 | 49 | 160 | 7 | 6 | 739.4814 | 663.897 | 678.6537 | 89.7787 | 91.7743 | 10.2213 | 8.2257 | 2.2228 | 19.5236
Rel_spc=7_D=160_avg_ws=7.5_SP=150 | 3015.9289 | 150 | 49 | 160 | 7 | 7.5 | 787.5556 | 751.2737 | 759.2513 | 95.3931 | 96.4061 | 4.6069 | 3.5939 | 1.0619 | 21.9877
Rel_spc=7_D=160_avg_ws=7.5_SP=200 | 4021.2386 | 200 | 49 | 160 | 7 | 7.5 | 943.1977 | 890.7822 | 902.5128 | 94.4428 | 95.6865 | 5.5572 | 4.3135 | 1.3169 | 22.38
Rel_spc=4_D=160_avg_ws=9.0_SP=250 | 5026.5482 | 250 | 49 | 160 | 4 | 9 | 1325.8988 | 1179.7229 | 1230.4736 | 88.9753 | 92.803 | 11.0247 | 7.197 | 4.3019 | 34.719
Rel_spc=7_D=160_avg_ws=7.5_SP=300 | 6031.8579 | 300 | 49 | 160 | 7 | 7.5 | 1167.5373 | 1081.7954 | 1101.5811 | 92.6562 | 94.3508 | 7.3438 | 5.6492 | 1.829 | 23.0759
Rel_spc=7_D=160_avg_ws=9.0_SP=150 | 3015.9289 | 150 | 49 | 160 | 7 | 9 | 911.5452 | 883.8332 | 890.3304 | 96.9599 | 97.6727 | 3.0401 | 2.3273 | 0.73511 | 23.4452
Rel_spc=7_D=160_avg_ws=9.0_SP=200 | 4021.2386 | 200 | 49 | 160 | 7 | 9 | 1137.7166 | 1091.7844 | 1101.2669 | 95.9628 | 96.7962 | 4.0372 | 3.2038 | 0.86853 | 20.6446
Rel_spc=7_D=160_avg_ws=9.0_SP=250 | 5026.5482 | 250 | 49 | 160 | 7 | 9 | 1325.8988 | 1268.5322 | 1282.6419 | 95.6734 | 96.7375 | 4.3266 | 3.2625 | 1.1123 | 24.5957
Rel_spc=7_D=160_avg_ws=9.0_SP=300 | 6031.8579 | 300 | 49 | 160 | 7 | 9 | 1498.4913 | 1420.3954 | 1435.9277 | 94.7884 | 95.8249 | 5.2116 | 4.1751 | 1.0935 | 19.8887

## 250w
Farm Name | Rated_Power | Specific_Power | #Turbine | Turbine_D | Turb_spc_rel | Avg_ws | AEP_No_Wake | AEP_Baseline | AEP_Opt | %_Baseline | %_Opt | Wk_Loss_Baseline | Wk_Loss_Opt | AEP_Gain_Opt | Loss_Red_Opt
Rel_spc=10_D=160_avg_ws=6.0_SP=150 | 3015.9289 | 150 | 49 | 160 | 10 | 6 | 588.8415 | 565.4525 | 568.494 | 96.028 | 96.5445 | 3.972 | 3.4555 | 0.53789 | 13.004
Rel_spc=10_D=160_avg_ws=6.0_SP=200 | 4021.2386 | 200 | 49 | 160 | 10 | 6 | 661.5044 | 630.268 | 634.1977 | 95.278 | 95.872 | 4.722 | 4.128 | 0.62349 | 12.5804
Rel_spc=10_D=160_avg_ws=6.0_SP=250 | 5026.5482 | 250 | 49 | 160 | 10 | 6 | 708.9718 | 670.9527 | 675.667 | 94.6374 | 95.3024 | 5.3626 | 4.6976 | 0.70262 | 12.3997
Rel_spc=10_D=160_avg_ws=6.0_SP=300 | 6031.8579 | 300 | 49 | 160 | 10 | 6 | 739.4814 | 696.4869 | 701.6927 | 94.1859 | 94.8898 | 5.8141 | 5.1102 | 0.74744 | 12.108
Rel_spc=10_D=160_avg_ws=7.5_SP=150 | 3015.9289 | 150 | 49 | 160 | 10 | 7.5 | 787.5556 | 767.9957 | 770.6847 | 97.5164 | 97.8578 | 2.4836 | 2.1422 | 0.35012 | 13.7471
Rel_spc=10_D=160_avg_ws=7.5_SP=200 | 4021.2386 | 200 | 49 | 160 | 10 | 7.5 | 943.1977 | 914.6455 | 918.4753 | 96.9728 | 97.3789 | 3.0272 | 2.6211 | 0.41871 | 13.4132
Rel_spc=4_D=160_avg_ws=6.0_SP=250 | 5026.5482 | 250 | 49 | 160 | 4 | 6 | 708.9718 | 556.5632 | 601.0224 | 78.5029 | 84.7738 | 21.4971 | 15.2262 | 7.9882 | 29.171
Rel_spc=10_D=160_avg_ws=7.5_SP=300 | 6031.8579 | 300 | 49 | 160 | 10 | 7.5 | 1167.5373 | 1121.1776 | 1127.862 | 96.0293 | 96.6018 | 3.9707 | 3.3982 | 0.5962 | 14.4187
Rel_spc=10_D=160_avg_ws=9.0_SP=150 | 3015.9289 | 150 | 49 | 160 | 10 | 9 | 911.5452 | 896.4908 | 898.3183 | 98.3485 | 98.549 | 1.6515 | 1.451 | 0.20385 | 12.1391
Rel_spc=10_D=160_avg_ws=9.0_SP=200 | 4021.2386 | 200 | 49 | 160 | 10 | 9 | 1137.7166 | 1112.1452 | 1115.4103 | 97.7524 | 98.0394 | 2.2476 | 1.9606 | 0.29359 | 12.7687
Rel_spc=7_D=160_avg_ws=6.0_SP=250 | 5026.5482 | 250 | 49 | 160 | 7 | 6 | 708.9718 | 641.4885 | 655.3693 | 90.4815 | 92.4394 | 9.5185 | 7.5606 | 2.1638 | 20.5692
Rel_spc=10_D=160_avg_ws=9.0_SP=300 | 6031.8579 | 300 | 49 | 160 | 10 | 9 | 1498.4913 | 1455.1708 | 1460.7768 | 97.1091 | 97.4832 | 2.8909 | 2.5168 | 0.38525 | 12.9407
Rel_spc=4_D=160_avg_ws=6.0_SP=150 | 3015.9289 | 150 | 49 | 160 | 4 | 6 | 588.8415 | 487.8448 | 519.9276 | 82.8482 | 88.2967 | 17.1518 | 11.7033 | 6.5764 | 31.7662
Rel_spc=4_D=160_avg_ws=6.0_SP=200 | 4021.2386 | 200 | 49 | 160 | 4 | 6 | 661.5044 | 531.4946 | 571.2715 | 80.3463 | 86.3594 | 19.6537 | 13.6406 | 7.484 | 30.5953
Rel_spc=10_D=160_avg_ws=7.5_SP=250 | 5026.5482 | 250 | 49 | 160 | 10 | 7.5 | 1068.1891 | 1029.6662 | 1034.8769 | 96.3936 | 96.8814 | 3.6064 | 3.1186 | 0.50605 | 13.5262
Rel_spc=4_D=160_avg_ws=6.0_SP=300 | 6031.8579 | 300 | 49 | 160 | 4 | 6 | 739.4814 | 571.3799 | 619.6456 | 77.2676 | 83.7946 | 22.7324 | 16.2054 | 8.4472 | 28.7123
Rel_spc=4_D=160_avg_ws=7.5_SP=150 | 3015.9289 | 150 | 49 | 160 | 4 | 7.5 | 787.5556 | 697.6984 | 728.3838 | 88.5904 | 92.4867 | 11.4096 | 7.5133 | 4.3981 | 34.149
Rel_spc=4_D=160_avg_ws=7.5_SP=200 | 4021.2386 | 200 | 49 | 160 | 4 | 7.5 | 943.1977 | 814.6212 | 858.6436 | 86.368 | 91.0354 | 13.632 | 8.9646 | 5.404 | 34.2383
Rel_spc=4_D=160_avg_ws=7.5_SP=250 | 5026.5482 | 250 | 49 | 160 | 4 | 7.5 | 1068.1891 | 900.0462 | 954.4743 | 84.2591 | 89.3544 | 15.7409 | 10.6456 | 6.0473 | 32.3701
Rel_spc=4_D=160_avg_ws=7.5_SP=300 | 6031.8579 | 300 | 49 | 160 | 4 | 7.5 | 1167.5373 | 963.4701 | 1028.244 | 82.5216 | 88.0695 | 17.4784 | 11.9305 | 6.723 | 31.7415
Rel_spc=4_D=160_avg_ws=9.0_SP=150 | 3015.9289 | 150 | 49 | 160 | 4 | 9 | 911.5452 | 841.7889 | 866.8282 | 92.3475 | 95.0944 | 7.6525 | 4.9056 | 2.9745 | 35.8954
Rel_spc=4_D=160_avg_ws=9.0_SP=200 | 4021.2386 | 200 | 49 | 160 | 4 | 9 | 1137.7166 | 1026.9373 | 1063.029 | 90.263 | 93.4353 | 9.737 | 6.5647 | 3.5145 | 32.5799
Rel_spc=7_D=160_avg_ws=7.5_SP=250 | 5026.5482 | 250 | 49 | 160 | 7 | 7.5 | 1068.1891 | 997.9367 | 1013.2985 | 93.4232 | 94.8613 | 6.5768 | 5.1387 | 1.5394 | 21.8666
Rel_spc=4_D=160_avg_ws=9.0_SP=300 | 6031.8579 | 300 | 49 | 160 | 4 | 9 | 1498.4913 | 1310.0606 | 1371.8553 | 87.4253 | 91.5491 | 12.5747 | 8.4509 | 4.7169 | 32.7944
Rel_spc=7_D=160_avg_ws=6.0_SP=150 | 3015.9289 | 150 | 49 | 160 | 7 | 6 | 588.8415 | 546.2143 | 555.2624 | 92.7608 | 94.2974 | 7.2392 | 5.7026 | 1.6565 | 21.2262
Rel_spc=7_D=160_avg_ws=6.0_SP=200 | 4021.2386 | 200 | 49 | 160 | 7 | 6 | 661.5044 | 605.353 | 617.3544 | 91.5116 | 93.3258 | 8.4884 | 6.6742 | 1.9825 | 21.3732
Rel_spc=10_D=160_avg_ws=9.0_SP=250 | 5026.5482 | 250 | 49 | 160 | 10 | 9 | 1325.8988 | 1295.3563 | 1299.9568 | 97.6965 | 98.0434 | 2.3035 | 1.9566 | 0.35516 | 15.0627
Rel_spc=7_D=160_avg_ws=6.0_SP=300 | 6031.8579 | 300 | 49 | 160 | 7 | 6 | 739.4814 | 663.897 | 678.6537 | 89.7787 | 91.7743 | 10.2213 | 8.2257 | 2.2228 | 19.5236
Rel_spc=7_D=160_avg_ws=7.5_SP=150 | 3015.9289 | 150 | 49 | 160 | 7 | 7.5 | 787.5556 | 751.2737 | 759.2513 | 95.3931 | 96.4061 | 4.6069 | 3.5939 | 1.0619 | 21.9877
Rel_spc=7_D=160_avg_ws=7.5_SP=200 | 4021.2386 | 200 | 49 | 160 | 7 | 7.5 | 943.1977 | 890.7822 | 902.5128 | 94.4428 | 95.6865 | 5.5572 | 4.3135 | 1.3169 | 22.38
Rel_spc=4_D=160_avg_ws=9.0_SP=250 | 5026.5482 | 250 | 49 | 160 | 4 | 9 | 1325.8988 | 1179.7229 | 1230.4736 | 88.9753 | 92.803 | 11.0247 | 7.197 | 4.3019 | 34.719
Rel_spc=7_D=160_avg_ws=7.5_SP=300 | 6031.8579 | 300 | 49 | 160 | 7 | 7.5 | 1167.5373 | 1081.7954 | 1101.5811 | 92.6562 | 94.3508 | 7.3438 | 5.6492 | 1.829 | 23.0759
Rel_spc=7_D=160_avg_ws=9.0_SP=150 | 3015.9289 | 150 | 49 | 160 | 7 | 9 | 911.5452 | 883.8332 | 890.3304 | 96.9599 | 97.6727 | 3.0401 | 2.3273 | 0.73511 | 23.4452
Rel_spc=7_D=160_avg_ws=9.0_SP=200 | 4021.2386 | 200 | 49 | 160 | 7 | 9 | 1137.7166 | 1091.7844 | 1101.2669 | 95.9628 | 96.7962 | 4.0372 | 3.2038 | 0.86853 | 20.6446
Rel_spc=7_D=160_avg_ws=9.0_SP=250 | 5026.5482 | 250 | 49 | 160 | 7 | 9 | 1325.8988 | 1268.5322 | 1282.6419 | 95.6734 | 96.7375 | 4.3266 | 3.2625 | 1.1123 | 24.5957
Rel_spc=7_D=160_avg_ws=9.0_SP=300 | 6031.8579 | 300 | 49 | 160 | 7 | 9 | 1498.4913 | 1420.3954 | 1435.9277 | 94.7884 | 95.8249 | 5.2116 | 4.1751 | 1.0935 | 19.8887

## All
Farm Name | Concatenate | Rated_Power | Specific_Power | #Turbine | Turbine_D | Turb_spc_rel | Avg_ws | AEP_No_Wake GWH/yr | AEP_Baseline gwh/yr | AEP_Baseline MWh/MW/yr | AEP_Opt GWh/yr | AEP_Opt MWh/MW/yr | AEP_Gain | %_Baseline | %_Opt | Wk_Loss_Baseline | Wk_Loss_Opt | AEP_Gain_Opt | Loss_Red_Opt | BOS Cost ($/kW) | 2018 Turbine Cost Fraction of Total Cost from BOS (%) | 2018 Delta BOS Cost vs 10d (% total cost) | 2018 Turbine Cost Turbine cost ($/kW) | Low Turbine Cost ($/kW) | Low Turbine Cost Delta BOS Cost vs 10d (% total cost) | Losses excluding wake | Total wake losses baseline | total wake losses steering | 2018 Turbine Baseline Cost LCOE baseline ($/MWh) | 2018 turbine LCOE Wake Steering ($/MWh) | 2018 turbine Change LCOE with wake steering (% LCOE) | Low Turbine Cost LCOE baseline ($/MWh) | Low Turbine Cost LCOE Wake Steering ($/MWh) | Low Turbine Cost Change LCOE with wake steering | FCR (%) | opex ($/kw/yr)
Rel_spc=10_D=160_avg_ws=6.0_SP=150 | 301610 | 3015.9289 | 150 | 49 | 160 | 10 | 6 | 588.8415 | 565.4525 | 3826.2995 | 568.494 | 3846.8807 | 0.53789 | 96.028 | 96.5445 | 3.972 | 3.4555 | 0.53789 | 13.004 | 462.0954 | 31.37% |  | 1011 | 600 |  | 22.9% | 26.87% | 26.36% | 55.2098 | 54.5292 | -1.233% | 44.1933 | 43.8834 | -0.7014% | 0.075 | 44
Rel_spc=7_D=160_avg_ws=6.0_SP=150 | 30167 | 3015.9289 | 150 | 49 | 160 | 7 | 6 | 588.8415 | 546.2143 | 3696.1185 | 555.2624 | 3757.3454 | 1.6565 | 92.7608 | 94.2974 | 7.2392 | 5.7026 | 1.6565 | 21.2262 | 441.9342 | 30.42% | -1.369% | 1011 | 600 | -1.898% | 22.9% | 30.14% | 28.6% | 59.2416 | 57.022 | -3.747% | 47.3038 | 46.2858 | -2.152%
Rel_spc=4_D=160_avg_ws=6.0_SP=150 | 30164 | 3015.9289 | 150 | 49 | 160 | 4 | 6 | 588.8415 | 487.8448 | 3301.1441 | 519.9276 | 3518.2421 | 6.5764 | 82.8482 | 88.2967 | 17.1518 | 11.7033 | 6.5764 | 31.7662 | 418.418 | 29.27% | -1.619% | 1011 | 600 | -2.257% | 22.9% | 40.05% | 34.6% | 76.4063 | 65.7186 | -13.99% | 60.8301 | 55.7621 | -8.331%
Rel_spc=10_D=160_avg_ws=7.5_SP=150 | 301610 | 3015.9289 | 150 | 49 | 160 | 10 | 7.5 | 787.5556 | 767.9957 | 5196.8673 | 770.6847 | 5215.0626 | 0.35012 | 97.5164 | 97.8578 | 2.4836 | 2.1422 | 0.35012 | 13.7471 | 462.0954 | 31.37% |  | 1011 | 600 |  | 22.9% | 25.38% | 25.04% | 39.8385 | 39.5186 | -0.8028% | 31.8892 | 31.7439 | -0.4555%
Rel_spc=7_D=160_avg_ws=7.5_SP=150 | 30167 | 3015.9289 | 150 | 49 | 160 | 7 | 7.5 | 787.5556 | 751.2737 | 5083.7126 | 759.2513 | 5137.6951 | 1.0619 | 95.3931 | 96.4061 | 4.6069 | 3.5939 | 1.0619 | 21.9877 | 441.9342 | 30.42% | -1.369% | 1011 | 600 | -1.898% | 22.9% | 27.51% | 26.49% | 41.5077 | 40.5056 | -2.414% | 33.1435 | 32.6868 | -1.378%
Rel_spc=4_D=160_avg_ws=7.5_SP=150 | 30164 | 3015.9289 | 150 | 49 | 160 | 4 | 7.5 | 787.5556 | 697.6984 | 4721.1801 | 728.3838 | 4928.8215 | 4.3981 | 88.5904 | 92.4867 | 11.4096 | 7.5133 | 4.3981 | 34.149 | 418.418 | 29.27% | -1.619% | 1011 | 600 | -2.257% | 22.9% | 34.31% | 30.41% | 48.7548 | 44.086 | -9.576% | 38.8157 | 36.6423 | -5.599%
Rel_spc=10_D=160_avg_ws=9.0_SP=150 | 301610 | 3015.9289 | 150 | 49 | 160 | 10 | 9 | 911.5452 | 896.4908 | 6066.3668 | 898.3183 | 6078.7328 | 0.20385 | 98.3485 | 98.549 | 1.6515 | 1.451 | 0.20385 | 12.1391 | 462.0954 | 31.37% |  | 1011 | 600 |  | 22.9% | 24.55% | 24.35% | 33.752 | 33.594 | -0.4679% | 27.0172 | 26.9456 | -0.265%
Rel_spc=7_D=160_avg_ws=9.0_SP=150 | 30167 | 3015.9289 | 150 | 49 | 160 | 7 | 9 | 911.5452 | 883.8332 | 5980.7156 | 890.3304 | 6024.6803 | 0.73511 | 96.9599 | 97.6727 | 3.0401 | 2.3273 | 0.73511 | 23.4452 | 441.9342 | 30.42% | -1.369% | 1011 | 600 | -1.898% | 22.9% | 25.94% | 25.23% | 34.5359 | 33.957 | -1.676% | 27.5765 | 27.3137 | -0.9532%
Rel_spc=4_D=160_avg_ws=9.0_SP=150 | 30164 | 3015.9289 | 150 | 49 | 160 | 4 | 9 | 911.5452 | 841.7889 | 5696.2104 | 866.8282 | 5865.646 | 2.9745 | 92.3475 | 95.0944 | 7.6525 | 4.9056 | 2.9745 | 35.8954 | 418.418 | 29.27% | -1.619% | 1011 | 600 | -2.257% | 22.9% | 30.55% | 27.81% | 38.2232 | 35.7068 | -6.584% | 30.431 | 29.2732 | -3.805%
Rel_spc=10_D=160_avg_ws=6.0_SP=200 | 402110 | 4021.2386 | 200 | 49 | 160 | 10 | 6 | 661.5044 | 630.268 | 3198.6694 | 634.1977 | 3218.6127 | 0.62349 | 95.278 | 95.872 | 4.722 | 4.128 | 0.62349 | 12.5804 | 388.4089 | 27.76% |  | 1011 | 600 |  | 22.9% | 27.62% | 27.03% | 64.34 | 63.4208 | -1.429% | 51.0255 | 50.6101 | -0.8141%
Rel_spc=7_D=160_avg_ws=6.0_SP=200 | 40217 | 4021.2386 | 200 | 49 | 160 | 7 | 6 | 661.5044 | 605.353 | 3072.2235 | 617.3544 | 3133.1315 | 1.9825 | 91.5116 | 93.3258 | 8.4884 | 6.6742 | 1.9825 | 21.3732 | 373.1955 | 26.96% | -1.087% | 1011 | 600 | -1.539% | 22.9% | 31.39% | 29.57% | 70.1241 | 66.9895 | -4.47% | 55.5006 | 54.0708 | -2.576%
Rel_spc=4_D=160_avg_ws=6.0_SP=200 | 40214 | 4021.2386 | 200 | 49 | 160 | 4 | 6 | 661.5044 | 531.4946 | 2697.3848 | 571.2715 | 2899.2564 | 7.484 | 80.3463 | 86.3594 | 19.6537 | 13.6406 | 7.484 | 30.5953 | 355.4587 | 26.01% | -1.281% | 1011 | 600 | -1.823% | 22.9% | 42.55% | 36.54% | 94.5336 | 79.6175 | -15.78% | 74.6407 | 67.5681 | -9.476%
Rel_spc=10_D=160_avg_ws=7.5_SP=200 | 402110 | 4021.2386 | 200 | 49 | 160 | 10 | 7.5 | 943.1977 | 914.6455 | 4641.912 | 918.4753 | 4661.3483 | 0.41871 | 96.9728 | 97.3789 | 3.0272 | 2.6211 | 0.41871 | 13.4132 | 388.4089 | 27.76% |  | 1011 | 600 |  | 22.9% | 25.93% | 25.52% | 43.3213 | 42.9054 | -0.9599% | 34.3563 | 34.169 | -0.5452%
Rel_spc=7_D=160_avg_ws=7.5_SP=200 | 40217 | 4021.2386 | 200 | 49 | 160 | 7 | 7.5 | 943.1977 | 890.7822 | 4520.8035 | 902.5128 | 4580.3373 | 1.3169 | 94.4428 | 95.6865 | 5.5572 | 4.3135 | 1.3169 | 22.38 | 373.1955 | 26.96% | -1.087% | 1011 | 600 | -1.539% | 22.9% | 28.46% | 27.21% | 45.7021 | 44.3373 | -2.986% | 36.1715 | 35.5534 | -1.709%
Rel_spc=4_D=160_avg_ws=7.5_SP=200 | 40214 | 4021.2386 | 200 | 49 | 160 | 4 | 7.5 | 943.1977 | 814.6212 | 4134.2793 | 858.6436 | 4357.697 | 5.404 | 86.368 | 91.0354 | 13.632 | 8.9646 | 5.404 | 34.2383 | 355.4587 | 26.01% | -1.281% | 1011 | 600 | -1.823% | 22.9% | 36.53% | 31.86% | 55.826 | 49.3357 | -11.63% | 44.0784 | 41.059 | -6.85%
Rel_spc=10_D=160_avg_ws=9.0_SP=200 | 402110 | 4021.2386 | 200 | 49 | 160 | 10 | 9 | 1137.7166 | 1112.1452 | 5644.2413 | 1115.4103 | 5660.8121 | 0.29359 | 97.7524 | 98.0394 | 2.2476 | 1.9606 | 0.29359 | 12.7687 | 388.4089 | 27.76% |  | 1011 | 600 |  | 22.9% | 25.15% | 24.86% | 35.257 | 35.0196 | -0.6736% | 27.9609 | 27.8541 | -0.3819%
Rel_spc=7_D=160_avg_ws=9.0_SP=200 | 40217 | 4021.2386 | 200 | 49 | 160 | 7 | 9 | 1137.7166 | 1091.7844 | 5540.9082 | 1101.2669 | 5589.0329 | 0.86853 | 95.9628 | 96.7962 | 4.0372 | 3.2038 | 0.86853 | 20.6446 | 373.1955 | 26.96% | -1.087% | 1011 | 600 | -1.539% | 22.9% | 26.94% | 26.1% | 36.5124 | 35.7897 | -1.979% | 28.8982 | 28.5722 | -1.128%
Rel_spc=4_D=160_avg_ws=9.0_SP=200 | 40214 | 4021.2386 | 200 | 49 | 160 | 4 | 9 | 1137.7166 | 1026.9373 | 5211.803 | 1063.029 | 5394.972 | 3.5145 | 90.263 | 93.4353 | 9.737 | 6.5647 | 3.5145 | 32.5799 | 355.4587 | 26.01% | -1.281% | 1011 | 600 | -1.823% | 22.9% | 32.64% | 29.46% | 41.7236 | 38.4942 | -7.74% | 32.9436 | 31.462 | -4.497%
Rel_spc=10_D=160_avg_ws=6.0_SP=250 | 502710 | 5026.5482 | 250 | 49 | 160 | 10 | 6 | 708.9718 | 670.9527 | 2724.1185 | 675.667 | 2743.2588 | 0.70262 | 94.6374 | 95.3024 | 5.3626 | 4.6976 | 0.70262 | 12.3997 | 346.4189 | 25.52% |  | 1011 | 600 |  | 22.9% | 28.26% | 27.6% | 74.6113 | 73.4103 | -1.61% | 58.8377 | 58.2974 | -0.9184%
Rel_spc=7_D=160_avg_ws=6.0_SP=250 | 50277 | 5026.5482 | 250 | 49 | 160 | 7 | 6 | 708.9718 | 641.4885 | 2604.4915 | 655.3693 | 2660.8486 | 2.1638 | 90.4815 | 92.4394 | 9.5185 | 7.5606 | 2.1638 | 20.5692 | 334.3622 | 24.85% | -0.8882% | 1011 | 600 | -1.274% | 22.9% | 32.42% | 30.46% | 82.3235 | 78.3112 | -4.874% | 64.8109 | 62.9861 | -2.815%
Rel_spc=4_D=160_avg_ws=6.0_SP=250 | 50274 | 5026.5482 | 250 | 49 | 160 | 4 | 6 | 708.9718 | 556.5632 | 2259.6886 | 601.0224 | 2440.1959 | 7.9882 | 78.5029 | 84.7738 | 21.4971 | 15.2262 | 7.9882 | 29.171 | 320.2242 | 24.05% | -1.051% | 1011 | 600 | -1.513% | 22.9% | 44.4% | 38.13% | 114.4826 | 95.2695 | -16.78% | 89.9492 | 80.8328 | -10.14%
Rel_spc=10_D=160_avg_ws=7.5_SP=250 | 502710 | 5026.5482 | 250 | 49 | 160 | 10 | 7.5 | 1068.1891 | 1029.6662 | 4180.522 | 1034.8769 | 4201.6777 | 0.50605 | 96.3936 | 96.8814 | 3.6064 | 3.1186 | 0.50605 | 13.5262 | 346.4189 | 25.52% |  | 1011 | 600 |  | 22.9% | 26.51% | 26.02% | 47.4566 | 46.9063 | -1.16% | 37.4238 | 37.177 | -0.6594%
Rel_spc=7_D=160_avg_ws=7.5_SP=250 | 50277 | 5026.5482 | 250 | 49 | 160 | 7 | 7.5 | 1068.1891 | 997.9367 | 4051.698 | 1013.2985 | 4114.0682 | 1.5394 | 93.4232 | 94.8613 | 6.5768 | 5.1387 | 1.5394 | 21.8666 | 334.3622 | 24.85% | -0.8882% | 1011 | 600 | -1.274% | 22.9% | 29.48% | 28.04% | 50.7114 | 48.9445 | -3.484% | 39.9236 | 39.1257 | -1.998%
Rel_spc=4_D=160_avg_ws=7.5_SP=250 | 50274 | 5026.5482 | 250 | 49 | 160 | 4 | 7.5 | 1068.1891 | 900.0462 | 3654.2552 | 954.4743 | 3875.2372 | 6.0473 | 84.2591 | 89.3544 | 15.7409 | 10.6456 | 6.0473 | 32.3701 | 320.2242 | 24.05% | -1.051% | 1011 | 600 | -1.513% | 22.9% | 38.64% | 33.55% | 64.1516 | 55.8551 | -12.93% | 50.404 | 46.5393 | -7.667%
Rel_spc=10_D=160_avg_ws=9.0_SP=250 | 502710 | 5026.5482 | 250 | 49 | 160 | 10 | 9 | 1325.8988 | 1295.3563 | 5259.2438 | 1299.9568 | 5277.9223 | 0.35516 | 97.6965 | 98.0434 | 2.3035 | 1.9566 | 0.35516 | 15.0627 | 346.4189 | 25.52% |  | 1011 | 600 |  | 22.9% | 25.2% | 24.86% | 37.0657 | 36.764 | -0.814% | 29.2296 | 29.0947 | -0.4618%
Rel_spc=7_D=160_avg_ws=9.0_SP=250 | 50277 | 5026.5482 | 250 | 49 | 160 | 7 | 9 | 1325.8988 | 1268.5322 | 5150.336 | 1282.6419 | 5207.6224 | 1.1123 | 95.6734 | 96.7375 | 4.3266 | 3.2625 | 1.1123 | 24.5957 | 334.3622 | 24.85% | -0.8882% | 1011 | 600 | -1.274% | 22.9% | 27.23% | 26.16% | 38.6604 | 37.6841 | -2.525% | 30.4362 | 29.9976 | -1.441%
Rel_spc=4_D=160_avg_ws=9.0_SP=250 | 50274 | 5026.5482 | 250 | 49 | 160 | 4 | 9 | 1325.8988 | 1179.7229 | 4789.7634 | 1230.4736 | 4995.8153 | 4.3019 | 88.9753 | 92.803 | 11.0247 | 7.197 | 4.3019 | 34.719 | 320.2242 | 24.05% | -1.051% | 1011 | 600 | -1.513% | 22.9% | 33.92% | 30.1% | 45.4498 | 41.1892 | -9.374% | 35.71 | 33.7546 | -5.476%
Rel_spc=10_D=160_avg_ws=6.0_SP=300 | 603210 | 6031.8579 | 300 | 49 | 160 | 10 | 6 | 739.4814 | 696.4869 | 2356.491 | 701.6927 | 2374.1043 | 0.74744 | 94.1859 | 94.8898 | 5.8141 | 5.1102 | 0.74744 | 12.108 | 318.7482 | 23.97% |  | 1011 | 600 |  | 22.9% | 28.71% | 28.01% | 85.5621 | 84.0969 | -1.713% | 67.2122 | 66.555 | -0.9779%
Rel_spc=7_D=160_avg_ws=6.0_SP=300 | 60327 | 6031.8579 | 300 | 49 | 160 | 7 | 6 | 739.4814 | 663.897 | 2246.2263 | 678.6537 | 2296.1543 | 2.2228 | 89.7787 | 91.7743 | 10.2213 | 8.2257 | 2.2228 | 19.5236 | 308.7743 | 23.4% | -0.7501% | 1011 | 600 | -1.086% | 22.9% | 33.12% | 31.13% | 95.1794 | 90.4121 | -5.009% | 74.6602 | 72.497 | -2.897%
Rel_spc=4_D=160_avg_ws=6.0_SP=300 | 60324 | 6031.8579 | 300 | 49 | 160 | 4 | 6 | 739.4814 | 571.3799 | 1933.2044 | 619.6456 | 2096.5065 | 8.4472 | 77.2676 | 83.7946 | 22.7324 | 16.2054 | 8.4472 | 28.7123 | 297.019 | 22.71% | -0.8907% | 1011 | 600 | -1.294% | 22.9% | 45.63% | 39.11% | 135.2011 | 111.3072 | -17.67% | 105.8729 | 94.525 | -10.72%
Rel_spc=10_D=160_avg_ws=7.5_SP=300 | 603210 | 6031.8579 | 300 | 49 | 160 | 10 | 7.5 | 1167.5373 | 1121.1776 | 3793.3876 | 1127.862 | 3816.0038 | 0.5962 | 96.0293 | 96.6018 | 3.9707 | 3.3982 | 0.5962 | 14.4187 | 318.7482 | 23.97% |  | 1011 | 600 |  | 22.9% | 26.87% | 26.3% | 51.8122 | 51.1051 | -1.365% | 40.7004 | 40.3843 | -0.7768%
Rel_spc=7_D=160_avg_ws=7.5_SP=300 | 60327 | 6031.8579 | 300 | 49 | 160 | 7 | 7.5 | 1167.5373 | 1081.7954 | 3660.1421 | 1101.5811 | 3727.0849 | 1.829 | 92.6562 | 94.3508 | 7.3438 | 5.6492 | 1.829 | 23.0759 | 308.7743 | 23.4% | -0.7501% | 1011 | 600 | -1.086% | 22.9% | 30.24% | 28.55% | 56.0021 | 53.6918 | -4.125% | 43.9289 | 42.887 | -2.372%
Rel_spc=4_D=160_avg_ws=7.5_SP=300 | 60324 | 6031.8579 | 300 | 49 | 160 | 4 | 7.5 | 1167.5373 | 963.4701 | 3259.8006 | 1028.244 | 3478.9566 | 6.723 | 82.5216 | 88.0695 | 17.4784 | 11.9305 | 6.723 | 31.7415 | 297.019 | 22.71% | -0.8907% | 1011 | 600 | -1.294% | 22.9% | 40.38% | 34.83% | 73.1146 | 62.6766 | -14.28% | 57.2544 | 52.3803 | -8.513%
Rel_spc=10_D=160_avg_ws=9.0_SP=300 | 603210 | 6031.8579 | 300 | 49 | 160 | 10 | 9 | 1498.4913 | 1455.1708 | 4923.4189 | 1460.7768 | 4942.3861 | 0.38525 | 97.1091 | 97.4832 | 2.8909 | 2.5168 | 0.38525 | 12.9407 | 318.7482 | 23.97% |  | 1011 | 600 |  | 22.9% | 25.79% | 25.42% | 39.3393 | 38.9918 | -0.8834% | 30.9025 | 30.7475 | -0.5016%
Rel_spc=7_D=160_avg_ws=9.0_SP=300 | 60327 | 6031.8579 | 300 | 49 | 160 | 7 | 9 | 1498.4913 | 1420.3954 | 4805.76 | 1435.9277 | 4858.3118 | 1.0935 | 94.7884 | 95.8249 | 5.2116 | 4.1751 | 1.0935 | 19.8887 | 308.7743 | 23.4% | -0.7501% | 1011 | 600 | -1.086% | 22.9% | 28.11% | 27.08% | 41.387 | 40.3574 | -2.488% | 32.4646 | 32.0031 | -1.421%
Rel_spc=4_D=160_avg_ws=9.0_SP=300 | 60324 | 6031.8579 | 300 | 49 | 160 | 4 | 9 | 1498.4913 | 1310.0606 | 4432.4536 | 1371.8553 | 4641.5297 | 4.7169 | 87.4253 | 91.5491 | 12.5747 | 8.4509 | 4.7169 | 32.7944 | 297.019 | 22.71% | -0.8907% | 1011 | 600 | -1.294% | 22.9% | 35.47% | 31.35% | 49.6849 | 44.5967 | -10.24% | 38.9071 | 36.5699 | -6.007%

## BOS Cost Totals
Project ID |  | Rated Power | Turb spc rel | BOS Cost USD/kW per project |  | Module | Project ID | USD/kW per project
Wake 3.016MW 4D | 30164 | 3016 | 4 | 418.418 |  | CollectionCost | Wake 6.032MW 10D | 17.6217
Wake 3.016MW 7D | 30167 | 3016 | 7 | 441.9342 |  | CollectionCost | Wake 6.032MW 7D | 14.3421
Wake 3.016MW 10D | 301610 | 3016 | 10 | 462.0954 |  | CollectionCost | Wake 6.032MW 4D | 9.6226
Wake 4.021MW 4D | 40214 | 4021 | 4 | 355.4587 |  | CollectionCost | Wake 5.027MW 10D | 21.4038
Wake 4.021MW 7D | 40217 | 4021 | 7 | 373.1955 |  | CollectionCost | Wake 5.027MW 7D | 17.3908
Wake 4.021MW 10D | 402110 | 4021 | 10 | 388.4089 |  | CollectionCost | Wake 5.027MW 4D | 11.7066
Wake 5.027MW 4D | 50274 | 5027 | 4 | 320.2242 |  | CollectionCost | Wake 4.021MW 10D | 27.1454
Wake 5.027MW 7D | 50277 | 5027 | 7 | 334.3622 |  | CollectionCost | Wake 4.021MW 7D | 22.0125
Wake 5.027MW 10D | 502710 | 5027 | 10 | 346.4189 |  | CollectionCost | Wake 4.021MW 4D | 14.8607
Wake 6.032MW 4D | 60324 | 6032 | 4 | 297.019 |  | CollectionCost | Wake 3.016MW 10D | 36.0634
Wake 6.032MW 7D | 60327 | 6032 | 7 | 308.7743 |  | CollectionCost | Wake 3.016MW 7D | 29.2583
Wake 6.032MW 10D | 603210 | 6032 | 10 | 318.7482 |  | CollectionCost | Wake 3.016MW 4D | 19.8559
[6 empty] | DevelopmentCost | Wake 6.032MW 10D | 27.0665
[6 empty] | DevelopmentCost | Wake 6.032MW 7D | 27.0665
[6 empty] | DevelopmentCost | Wake 6.032MW 4D | 27.0665
[6 empty] | DevelopmentCost | Wake 5.027MW 10D | 32.4777
[6 empty] | DevelopmentCost | Wake 5.027MW 7D | 32.4777
|  | 3016 | 4 |  |  | DevelopmentCost | Wake 5.027MW 4D | 32.4777
|  | 3016 | 7 |  |  | DevelopmentCost | Wake 4.021MW 10D | 40.6032
|  | 3016 | 10 |  |  | DevelopmentCost | Wake 4.021MW 7D | 40.6032
|  | 4012 | 4 |  |  | DevelopmentCost | Wake 4.021MW 4D | 40.6032
|  | 4012 | 7 |  |  | DevelopmentCost | Wake 3.016MW 10D | 54.1331
|  | 4012 | 10 |  |  | DevelopmentCost | Wake 3.016MW 7D | 54.1331
[6 empty] | DevelopmentCost | Wake 3.016MW 4D | 54.1331
[6 empty] | ErectionCost | Wake 6.032MW 10D | 49.1918
|  | 30164 | 418.418 |  |  | ErectionCost | Wake 6.032MW 7D | 48.286
|  | 30167 | 441.9342 |  |  | ErectionCost | Wake 6.032MW 4D | 47.3992
|  | 301610 | 462.0954 |  |  | ErectionCost | Wake 5.027MW 10D | 54.6815
|  | 40214 | 355.4587 |  |  | ErectionCost | Wake 5.027MW 7D | 53.5948
|  | 40217 | 373.1955 |  |  | ErectionCost | Wake 5.027MW 4D | 52.5235
|  | 402110 | 388.4089 |  |  | ErectionCost | Wake 4.021MW 10D | 62.8879
|  | 50274 | 320.2242 |  |  | ErectionCost | Wake 4.021MW 7D | 61.5229
|  | 50277 | 334.3622 |  |  | ErectionCost | Wake 4.021MW 4D | 60.1751
|  | 502710 | 346.4189 |  |  | ErectionCost | Wake 3.016MW 10D | 73.558
|  | 60324 | 297.019 |  |  | ErectionCost | Wake 3.016MW 7D | 71.8063
|  | 60327 | 308.7743 |  |  | ErectionCost | Wake 3.016MW 4D | 69.9911
|  | 603210 | 318.7482 |  |  | FoundationCost | Wake 6.032MW 10D | 100.8534
[6 empty] | FoundationCost | Wake 6.032MW 7D | 100.8534
[6 empty] | FoundationCost | Wake 6.032MW 4D | 100.8534
BOS Costs by Scenario | [5 empty] | FoundationCost | Wake 5.027MW 10D | 96.4276
Project ID | Rated Power | Turb spc rel | BOS Cost USD/kW per project |  | FoundationCost | Wake 5.027MW 7D | 96.4276
Wake 3.016MW 4D | 3016 | 4 | 418.418 |  | FoundationCost | Wake 5.027MW 4D | 96.4276
Wake 3.016MW 7D | 3016 | 7 | 441.9342 |  | FoundationCost | Wake 4.021MW 10D | 91.9292
Wake 3.016MW 10D | 3016 | 10 | 462.0954 |  | FoundationCost | Wake 4.021MW 7D | 91.9292
Wake 4.021MW 4D | 4021 | 4 | 355.4587 |  | FoundationCost | Wake 4.021MW 4D | 91.9292
Wake 4.021MW 7D | 4021 | 7 | 373.1955 |  | FoundationCost | Wake 3.016MW 10D | 88.8664
Wake 4.021MW 10D | 4021 | 10 | 388.4089 |  | FoundationCost | Wake 3.016MW 7D | 88.8664
Wake 5.027MW 4D | 5027 | 4 | 320.2242 |  | FoundationCost | Wake 3.016MW 4D | 88.8664
Wake 5.027MW 7D | 5027 | 7 | 334.3622 |  | GridConnectionCost | Wake 6.032MW 10D | 16.3114
Wake 5.027MW 10D | 5027 | 10 | 346.4189 |  | GridConnectionCost | Wake 6.032MW 7D | 16.3114
Wake 6.032MW 4D | 6032 | 4 | 297.019 |  | GridConnectionCost | Wake 6.032MW 4D | 16.3114
Wake 6.032MW 7D | 6032 | 7 | 308.7743 |  | GridConnectionCost | Wake 5.027MW 10D | 19.5724
Wake 6.032MW 10D | 6032 | 10 | 318.7482 |  | GridConnectionCost | Wake 5.027MW 7D | 19.5724
[6 empty] | GridConnectionCost | Wake 5.027MW 4D | 19.5724
[6 empty] | GridConnectionCost | Wake 4.021MW 10D | 24.4691
[6 empty] | GridConnectionCost | Wake 4.021MW 7D | 24.4691
[6 empty] | GridConnectionCost | Wake 4.021MW 4D | 24.4691
[6 empty] | GridConnectionCost | Wake 3.016MW 10D | 32.6228
[6 empty] | GridConnectionCost | Wake 3.016MW 7D | 32.6228
[6 empty] | GridConnectionCost | Wake 3.016MW 4D | 32.6228
[6 empty] | ManagementCost | Wake 6.032MW 10D | 60.5964
[6 empty] | ManagementCost | Wake 6.032MW 7D | 59.3273
[6 empty] | ManagementCost | Wake 6.032MW 4D | 57.8315
[6 empty] | ManagementCost | Wake 5.027MW 10D | 67.6835
[6 empty] | ManagementCost | Wake 5.027MW 7D | 66.1493
[6 empty] | ManagementCost | Wake 5.027MW 4D | 64.3503
[6 empty] | ManagementCost | Wake 4.021MW 10D | 76.5959
[6 empty] | ManagementCost | Wake 4.021MW 7D | 74.66
[6 empty] | ManagementCost | Wake 4.021MW 4D | 72.4031
[6 empty] | ManagementCost | Wake 3.016MW 10D | 94.421
[6 empty] | ManagementCost | Wake 3.016MW 7D | 91.8555
[6 empty] | ManagementCost | Wake 3.016MW 4D | 88.8632
[6 empty] | SitePreparationCost | Wake 6.032MW 10D | 20.9216
[6 empty] | SitePreparationCost | Wake 6.032MW 7D | 16.4021
[6 empty] | SitePreparationCost | Wake 6.032MW 4D | 11.749
[6 empty] | SitePreparationCost | Wake 5.027MW 10D | 25.1042
[6 empty] | SitePreparationCost | Wake 5.027MW 7D | 19.6813
[6 empty] | SitePreparationCost | Wake 5.027MW 4D | 14.0979
[6 empty] | SitePreparationCost | Wake 4.021MW 10D | 31.3849
[6 empty] | SitePreparationCost | Wake 4.021MW 7D | 24.6052
[6 empty] | SitePreparationCost | Wake 4.021MW 4D | 17.625
[6 empty] | SitePreparationCost | Wake 3.016MW 10D | 41.8431
[6 empty] | SitePreparationCost | Wake 3.016MW 7D | 32.8043
[6 empty] | SitePreparationCost | Wake 3.016MW 4D | 23.4981
[6 empty] | SubstationCost | Wake 6.032MW 10D | 26.1853
[6 empty] | SubstationCost | Wake 6.032MW 7D | 26.1853
[6 empty] | SubstationCost | Wake 6.032MW 4D | 26.1853
[6 empty] | SubstationCost | Wake 5.027MW 10D | 29.0682
[6 empty] | SubstationCost | Wake 5.027MW 7D | 29.0682
[6 empty] | SubstationCost | Wake 5.027MW 4D | 29.0682
[6 empty] | SubstationCost | Wake 4.021MW 10D | 33.3934
[6 empty] | SubstationCost | Wake 4.021MW 7D | 33.3934
[6 empty] | SubstationCost | Wake 4.021MW 4D | 33.3934
[6 empty] | SubstationCost | Wake 3.016MW 10D | 40.5876
[6 empty] | SubstationCost | Wake 3.016MW 7D | 40.5876
[6 empty] | SubstationCost | Wake 3.016MW 4D | 40.5876